## Slide 1
UNIT 4: PROGRAMMING LOGIC CONTROLLERS 12
Programmable Logic Controllers – Basic Structure – Input / Output Processing – Programming – Mnemonics – Timers, Internal relays and counters – Shift Registers – Master and Jump Controls – Data Handling – Analogs Input / Output – Selection of a PLC

## Slide 2: Programmable Logic Controllers
Definition of PLC:
Programmable logic controller (PLC)
Program is a specially designed digital operating microprocessor-based controller that uses a programmable memory for internal storage of instructing and for implementing function such as logic, sequencing, timing, counting and arithmetic in order to control machines and processes.

## Slide 3
BASIC COMPONENTS:
Processor
Memory
Power Supply
Input I Output modules
Programming device
Monitor

## Slide 4: BASIC STRUCTURE OF A PLC SYSTEM

## Slide 5: INPUT / OUTPUT PROCESSING
The sourcing and sinking are used to describe the way in which DC devices are connected to PLC
Sourcing:
If a switch is connected to the positive of the battery and current flows from positive to negative, it is said to be the sourcing the current. So, the input device receives current from the input module.

## Slide 6
Sinking:
If a switch is connected to the negative of the battery and current flows from positive to negative, by conventional current flow direction, it is said to be the sinking for Current. For the PLC output unit, the current flows from output device to the output module

## Slide 7: STEPS INVOLVED IN INPUT / OUTPUT PROCESSING

## Slide 8: Mnemonics

## Slide 9
AND Logic Function:
OR Logic Function:

## Slide 10
NOT Logic Function:
NAND Logic Function:

## Slide 11
NOR Logic Function:
Exclusive OR (XOR) Logic Function:

## Slide 12: Latching
It is the instructions that use momentary switches and program the PLC so that when we push one the output turns on and when we push another the output turns off. This would be the function of a latching instruction

## Slide 13: TIMER
It is a special counter ladder function that allows the PLC to perform timing operations based on a precise internal clock.
Delay ON Timers:
TON is used to denote ON-delay.

## Slide 14
Delay OFF Timers:
Pulse Timers:
TOF is used to denote OFF-delay.

## Slide 15
Cascaded Timers:
ON – OFF Cycle Timer:
Timers are linked together to give longer delay times which is easily achieved than just one timer.
Timers producing an output for some period and no output for some period and an output for some period.

## Slide 16
One Shot Timers:
One shot timers produces an output for a fixed length of some initiation input.

## Slide 17: Internal relay
A relay is an electromagnetic switch operated by a relatively small electric current that can turn on or off a much larger electric current. The heart of a relay is an electromagnet
It can be very useful in the implementation of switching sequences.
It can be used when there are programs with multiple input conditions.

## Slide 18: Counters
It is used to count a specified number of contact operations.

## Slide 19
Shift Register:
A shift register is an electronic storage device that allows the stored bits of one relay to get shifted into another relay.

## Slide 20
Data handling:
The steps involved in data handling with a PLC system are
Moving data from one memory location to another
Comparison of Magnitudes of data
Arithmetic operations
Data conversion

## Slide 22: Data Comparison: It compare a pre – set value (1) to the input value (2)
Instruction :
< or LES
= or EQU
> or GRT
< or LEQ
≠ or <> or NEQ
> or GEQ

## Slide 23
Data Arithmetic Operations:
It is the ability to carry out the arithmetic operations such as addition, subtraction, multiplication and division only.
They cannot carry out exponential functions.

## Slide 24
Code Conversions:
All the internal operations in the CPU of a PLC are carried out through binary numbers.
When a decimal (input) signal is given, BCD conversion is used.
Similarly, when a decimal output is required, Decimal conversion is used.